# TIMELINE OF ACTIVITIES

**Coral Springs Regional Institute of Public Safety**

|  |  |  |  |
| --- | --- | --- | --- |
| **DATE** | **ACTIONS** | **Program or Agency Involved** | **NOTES** |
| **2/25/19** | Contacted facility manager to arrange time to meet on site. | DEP | To coordinate site access and answer questions. DEP Site Number:ERIC\_7396 |
| **2/26/19** | Site walkthrough with training officer. Identified two separate areas of historical AFFF use. | DEP | Small amount of AFFF stored on site (less than 7 gallons). |
| **10/17/19** | Preliminary assessment scheduled to be performed on November 7-8, 2019. | DEP |  |
| **11/07/19** | Preliminary site assessment (PSA) performed. Groundwater, surface water, sediment and soil samples were collected by SIS staff and State contractors. | DEP, State Contractors | The PSA included the collection of 18 soil samples at 9 locations from 0-6” to 6”-2’, four sediment samples and two surface water samples. Two temporary monitor wells were installed and sampled.  |
| **12/03/19** | Certified sample event results received from FDEP Central Laboratory. | DEP, DEP Central Laboratory | Concentrations of perfluorooctanoateacid (PFOA) and perfluorooctane sulfonate (PFOS) in groundwater were above the Health Advisory Level (HAL) and concentrations of PFOA in soil were above provisional soil cleanup target levels. Results sent to DOH, appropriate DEP district and local staff, and Coral Springs representatives. DOH requested to conduct nearby potable supply well sampling. |
| **10/10/2022** | MS Teams meeting with Coral Springs city and fire training staff to discuss moving forward with the PFAS assessment. | DEP, Coral Springs | A brief meeting discussing expectations from all parties involved. |
| **05/18/2023** | Initial assessment phase (development of a work plan) completed by CDM Smith, Inc. | DEP | A SAWP was put together by CDM Smith to further the investigation. |
| **09/13/2023** | Meeting with CDM Smith here at DEP.  | DEP, CDM Smith | CDM Smith is currently accepting bids and attempting to schedule work for this site. |
| **01/23/2024** | Phone meeting with CDM Smith | DEP, CDM Smith | Site Assessment Work has begun at this site.  |
| **03/28/2024** | Lab report complete for latest sampling event. | DEP, CDM Smith | Will begin to analyze the new lab data today. |
| **04/15/2024** | Monitor well installation and sampling. | CDM Smith | FDEP lab is currently analyzing the latest samples. |